## A. Basic Measurements and Sensors (1–40)

- Write a C program to convert a temperature reading from Celsius to Fahrenheit.

- Write a program to calculate the average of 10 voltage sensor readings stored in an array.

- Simulate a digital thermometer using an array of temperature inputs and find the maximum and minimum temperatures.

- Compute the RMS value of a set of voltage measurements.

- Simulate a potentiometer reading and scale it to a voltage range of 0–5V.

- Implement a program to compute the displacement of a sensor using s=ut+12at2s = ut + \frac{1}{2}at^2s=ut+21​at2.

- Write a C program to convert a resistance measurement to temperature using a thermistor table.

- Calculate the mean and standard deviation of pressure sensor readings in an array.

- Simulate reading light intensity from a photodiode array and display the average value.

- Implement a program to convert raw ADC values from a sensor into actual physical units.

- Simulate a strain gauge sensor and calculate the stress using the measured resistance change.

- Compute the average current from an array of measured current samples.

- Convert an array of digital counts from a load cell into force values.

- Implement a moving average filter for smoothing noisy temperature data.

- Simulate the output of an LVDT and convert it to linear displacement.

- Calculate the calibration factor for a pressure transducer given measured vs actual data.

- Write a program to detect if a sensor reading exceeds a threshold.

- Compute the sensitivity of a sensor given input-output data arrays.

- Simulate a thermocouple voltage reading and convert it to temperature using the appropriate formula.

- Implement a program to calculate the coefficient of variation for a set of sensor readings.

- Simulate digital readings from a tachometer and calculate the RPM.

- Compute the error percentage of a sensor using measured vs true values.

- Write a C program to generate random noise and add it to sensor readings.

- Simulate a piezoelectric sensor output and compute the force applied.

- Implement a program to find the maximum slope in a series of sensor voltage readings.

- Convert an array of humidity sensor readings to relative humidity percentages.

- Write a C function to linearly interpolate between two sensor calibration points.

- Simulate a light sensor reading and convert it to lux using a calibration factor.

- Calculate the average resistance of a set of resistor measurements with small variations.

- Write a program to detect rising and falling edges in digital sensor signals.

- Implement a simple sensor polling routine that stores values in an array.

- Compute the RMS noise of a sensor from its sampled voltage values.

- Write a program to apply a gain factor to sensor readings.

- Simulate an accelerometer and compute the tilt angle from X, Y, Z readings.

- Implement a low-pass filter to smooth noisy sensor readings.

- Simulate a force sensor connected in series with a spring and calculate displacement.

- Write a C program to scale sensor readings between 0 and 100%.

- Compute the maximum and minimum of a dynamically allocated array of sensor readings.

- Simulate a digital pressure sensor and convert raw counts to kPa.

- Write a program to detect outlier sensor readings and remove them from the data array.

## B. Signal Conditioning & Data Acquisition (41–80)

- Write a C program to amplify sensor readings by a fixed gain factor.

- Implement an offset correction for a set of voltage readings.

- Simulate a differential amplifier for two input signals and compute output.

- Write a program to average N ADC readings for better accuracy.

- Implement a program to scale analog voltage readings to a 0–1023 ADC range.

- Simulate an anti-aliasing low-pass filter by averaging adjacent readings.

- Write a program to compute the peak-to-peak voltage from sampled data.

- Convert sampled sensor data to a digital value using quantization.

- Implement a program to log ADC values into a file.

- Write a program to implement a basic digital integrator for sensor signals.

- Simulate a first-order RC filter and apply it to sampled data.

- Implement a digital differentiator to compute rate of change of sensor readings.

- Write a program to detect signal saturation in ADC readings.

- Simulate a Wheatstone bridge reading and convert it to sensor voltage.

- Implement an array-based moving window filter for signal smoothing.

- Write a C program to perform linear scaling on ADC input readings.

- Implement a program to calculate the power of a signal from voltage and current arrays.

- Simulate a simple RMS-to-DC conversion for sensor voltages.

- Write a program to convert sensor readings into dB using logarithms.

- Implement a function to compute the average of last N samples dynamically.

- Simulate a multiplexer reading multiple sensor channels sequentially.

- Implement a zero-offset removal routine for noisy sensor data.

- Write a program to detect when a signal crosses a threshold multiple times.

- Simulate reading multiple sensors and calculate their weighted sum.

- Implement a moving median filter to remove spikes from sensor readings.

- Write a program to detect a sudden jump in sensor data (step change detection).

- Simulate a current-to-voltage conversion and calculate the output voltage.

- Implement a simple ADC to voltage conversion function in C.

- Write a program to store timestamped sensor readings in a struct array.

- Compute RMS voltage from an array of sampled AC data.

- Implement a digital low-pass filter using the exponential smoothing method.

- Write a C program to find the time interval between two threshold-crossing events.

- Simulate sensor drift over time and compensate for it in software.

- Implement a peak detector to find the maximum value in a sliding window of readings.

- Write a program to calculate the derivative of sampled sensor data.

- Simulate a multiplexer-based ADC reading for temperature, pressure, and humidity sensors.

- Implement a lookup table for sensor calibration and interpolate values in C.

- Write a program to calculate the average power consumption from sampled voltage and current.

- Simulate an instrumentation amplifier with given input signals.

- Implement a software-based deadband to ignore small sensor fluctuations.

## C. Instrumentation Systems & Calibration (81–120)

- Write a C program to calibrate a temperature sensor using a two-point method.

- Compute the linear regression line for measured sensor outputs vs true values.

- Implement a least-squares fit for calibration of a pressure transducer.

- Simulate an error correction routine using a pre-computed error table.

- Write a program to calculate percentage error of measurement at different points.

- Implement a program to generate a calibration graph data file.

- Compute gain and offset of a sensor from measured calibration data.

- Write a C function to convert raw sensor data to engineering units using a formula.

- Simulate a multi-sensor system and calculate the total output based on weights.

- Implement a program to check sensor linearity by comparing measured vs ideal values.

- Write a program to compute the nonlinearity error of a sensor.

- Simulate a system with multiple sensors and compute the combined average.

- Implement a calibration routine using polynomial fitting.

- Write a program to apply a correction factor to all sensor readings.

- Compute hysteresis error in a simulated sensor using arrays.

- Implement a C program to store calibration coefficients in a struct.

- Write a program to interpolate between calibration points for any input.

- Simulate a digital weighing system and apply linear calibration.

- Compute the repeatability of sensor readings using array operations.

- Write a program to detect sensor saturation and clamp values.

- Implement a routine to store multiple sensor readings and compute average.

- Write a program to compute RMS error between measured and calibrated values.

- Simulate calibration of a load cell and convert ADC readings to force.

- Implement a program to generate calibration coefficients from a dataset.

- Write a program to convert sensor readings to percentage of full scale.

- Compute maximum absolute error in a sensor dataset.

- Implement a C program to compensate for temperature effect on sensor readings.

- Write a program to calculate zero-shift in a pressure sensor.

- Simulate a sensor system and compute overall uncertainty.

- Implement a program to calculate sensitivity drift over time.

- Write a program to adjust measured values based on calibration constants.

- Simulate a multi-point calibration for a thermocouple.

- Implement polynomial correction of nonlinear sensor readings.

- Write a program to check sensor stability by computing standard deviation over time.

- Compute mean absolute deviation of a set of sensor readings.

- Implement a routine to normalize sensor readings to a specific range.

- Simulate a strain gauge calibration using a known applied load.

- Write a program to store historical calibration data and compare with current measurements.

- Implement a function to compute error propagation from sensor readings.

- Write a program to compare sensor readings before and after calibration.

## D. Advanced Instrumentation & DAQ Tasks (121–160)

- Implement a C program to read N samples from a sensor and store in a circular buffer.

- Compute frequency of a periodic signal from sampled sensor data.

- Write a program to simulate a digital counter measuring pulse width.

- Implement FFT (simplified) to compute dominant frequency in sampled data.

- Simulate a multi-channel data acquisition system and log readings.

- Write a program to detect peaks in a noisy signal.

- Implement integration of sampled sensor data to compute total displacement.

- Simulate sensor aliasing and implement software correction.

- Write a program to detect zero-crossings in AC sensor signals.

- Implement a software-based signal rectifier using arrays.

- Simulate a digital tachometer and compute RPM over time.

- Write a program to calculate instantaneous power from voltage and current arrays.

- Implement a rolling RMS calculation for real-time monitoring.

- Simulate a vibration sensor and compute vibration amplitude.

- Write a program to generate a histogram of sensor readings.

- Implement a program to apply exponential moving average filter.

- Simulate a real-time sampling of temperature and store max, min, and average.

- Write a program to detect signal drift in long-term measurements.

- Implement a function to downsample a high-frequency sensor dataset.

- Simulate ADC saturation and implement software clamping.

- Write a program to calculate duty cycle of a digital sensor pulse.

- Implement a moving window standard deviation calculator.

- Simulate multiple thermocouples and calculate the average temperature.

- Write a program to compute energy consumed using current and voltage samples.

- Implement a digital peak hold routine for sensor signals.

- Simulate noise in sensor readings and implement denoising using median filter.

- Write a program to compute phase difference between two sinusoidal signals.

- Implement a routine to compute correlation coefficient between two sensor datasets.

- Simulate a multi-sensor system and calculate a weighted average output.

- Write a program to compute skewness and kurtosis of sensor readings.

- Implement a moving maximum and minimum filter for real-time monitoring.

- Simulate ADC quantization noise and analyze effect on measurements.

- Write a program to compute integral of sensor readings using trapezoidal rule.

- Implement a software-based envelope detector for sensor signals.

- Simulate a load cell with varying force and calculate output voltage.

- Write a program to convert digital counts to physical units using lookup table.

- Implement a routine to detect abnormal readings (more than 3 sigma from mean).

- Simulate multiple sensors and compute the average signal-to-noise ratio.

- Write a program to compute running average of last N sensor readings.

- Implement a simple peak-to-peak voltage calculator from sampled data.

## E. Error Analysis, Uncertainty, and Instrumentation Math (161–200)

- Write a C program to calculate percentage error of a sensor measurement.

- Compute mean, median, and mode of sensor readings stored in an array.

- Implement a program to compute variance and standard deviation.

- Simulate repeated sensor measurements and compute repeatability.

- Write a program to calculate confidence interval of sensor readings.

- Implement a routine to compute RMS error between measured and reference data.

- Simulate systematic and random errors and analyze their effect.

- Write a program to compute absolute and relative errors.

- Implement a function to calculate propagated error in derived quantities.

- Simulate a measurement with multiple sensors and compute combined uncertainty.

- Write a program to calculate calibration uncertainty.

- Compute the mean squared error (MSE) between measured and expected data.

- Implement a routine to detect and remove outliers based on standard deviation.

- Write a program to compute percentage drift of a sensor over time.

- Simulate multiple measurements and compute instrument precision.

- Implement a function to normalize sensor readings to 0–1 range.

- Write a program to calculate coefficient of variation of a dataset.

- Simulate measurement noise and compute signal-to-noise ratio.

- Implement a routine to compute cumulative error in sequential measurements.

- Write a program to compute weighted average and weighted error.

- Simulate multiple sensor readings and compute cross-correlation.

- Write a program to analyze sensor linearity using measured vs actual data.

- Implement a routine to calculate percentage non-linearity.

- Compute maximum absolute deviation of sensor readings.

- Write a program to calculate hysteresis error between increasing and decreasing measurements.

- Implement a C program to generate statistical summary (min, max, mean, std dev).

- Simulate sensor saturation and compute effective full-scale range.

- Write a program to analyze distribution of sensor errors.

- Implement a routine to compute cumulative sum of sensor deviations.

- Write a program to calculate gain and offset errors from calibration data.

- Simulate repeated ADC readings and compute ADC resolution error.

- Implement a program to compare two sets of sensor readings and compute correlation.

- Write a program to calculate Allan variance for sensor drift analysis.

- Simulate a sensor under random noise and compute RMS noise.

- Implement a routine to compute moving standard deviation of sensor data.

- Write a program to simulate measurement under different temperatures and compute effect.

- Implement a program to calculate digital-to-analog conversion error.

- Simulate a sensor network and compute average measurement with uncertainty.

- Write a program to detect measurement anomalies in time series data.

- Implement a full C program to log, calibrate, filter, and analyze a sensor dataset.